## SOP - Thermometer Calibratio
SOP - Thermometer Calibration (Daily Checks)
Provided by GIFSQ · v1.0 · September 2026
A thermometer that's two degrees out can pass unsafe food or fail safe food - either way you're in trouble. This SOP covers the quick daily accuracy checks; the full lab calibration schedule lives in the calibration PRP.
SOPs only work if people actually read them. Train each operator, get the read-and-understood signature, and keep the language as plain as the job allows - this isn't the place to show off vocabulary.
1. Document control
Field | Details
Document title | SOP - Thermometer Calibration (Daily Checks)
Document no. | [QA-SOP-013]
Version | [1.0]
Effective date | [YYYY-MM-DD]
Prepared by | [Name / Title / Date]
Approved by | [Name / Title / Date]
Review date | [YYYY-MM-DD]
2. Purpose
To verify thermometer accuracy before use each day (or per shift).
3. Scope
Covers all probe thermometers used for food safety checks at [site name].
4. Responsibilities
Role | Responsibility
Users | Perform the daily check; quarantine failed units.
QA | Investigates failures; arranges recalibration or replacement.
5. Materials and equipment
Crushed ice and water (ice-point check)
Clean container
Daily check log
Spare calibrated thermometer
6. Safety precautions
Dry the probe before use on hot foods to avoid steam burns.
7. Procedure
Follow the steps in order. Steps marked [CHECK] are the ones people skip under pressure - don't.
1. Make an ice slurry: fill a container with crushed ice, add just enough cold water to fill the gaps, stir. 2. Insert the probe into the centre of the slurry without touching the container; wait for the reading to stabilize. 3. Accept 0 °C +/- [1 °C, or your criterion]. Record the reading. [CHECK] 4. Alternative: boiling water check at 100 °C (adjust for altitude per your procedure). 5. If outside the limit: quarantine the thermometer, label it clearly, and notify QA - then assess any food checked with it since its last good check. [CHECK] 6. Use the spare calibrated thermometer in the meantime. 7. Never adjust a thermometer's calibration yourself unless trained and authorized.
8. Records
Daily thermometer check log
Out-of-tolerance investigations
9. Revision history
Version | Date | Change description | Changed by
1.0 | [YYYY-MM-DD] | Initial issue | [Name]
Approval and control
Role | Name | Signature | Date
Prepared by | [Name] | [Signature] | [Date]
Reviewed by (QA) | [Name] | [Signature] | [Date]
Approved by | [Name] | [Signature] | [Date]
Retention
Keep completed forms for [Define retention period, e.g., 2 years beyond shelf life] at [defined location] - and make sure someone besides you knows where that is.

## Instructions
SOP - Thermometer Calibration (Daily Checks)
Provided by GIFSQ · v1.0 · September 2026
About this form
A thermometer that's two degrees out can pass unsafe food or fail safe food - either way you're in trouble. This SOP covers the quick daily accuracy checks; the full lab calibration schedule lives in the calibration PRP.
Guidance notes
SOPs only work if people actually read them. Train each operator, get the read-and-understood signature, and keep the language as plain as the job allows - this isn't the place to show off vocabulary.
Follow the steps in order. Steps marked [CHECK] are the ones people skip under pressure - don't.
Retention
Keep completed forms for [Define retention period, e.g., 2 years beyond shelf life] at [defined location] - and make sure someone besides you knows where that is.